## Slide 1: Structural Renewal of Deteriorated Under-Road Culverts
John Monro
Interflow Pty Limited

## Slide 2: Under Road Culverts
Notes: Out of sight. Out of mind. Unlike potholes, unless you go looking for them, you don’t know they’re there.

## Slide 3: Why its needed …
Notes: Corrugated metal culverts in the 1980s to early 1990s are reaching the ends of their lives.

## Slide 4: Why its needed …
Notes: Concrete culvert or stormwater pipelines. Likely this damage caused by construction.

## Slide 5: Why its needed …

## Slide 6: Option: Concrete the Invert
Notes: Partial repair only.
Only structural if reinforced and bonded to the existing CMP culvert
Moves abrasion / corrosion up the side of the culvert – unlikely to have a 50 / 100 year service life.
Reduces flow capacity.
Future problems with rehabilitation

## Slide 7: Culvert Renewal Wish List
Restore Structural Strength
Maintain Flow Capacity
Long Lasting
Install without road disruption
Small work site
Economical
Safe

## Slide 8: Spiral Wound Systems for Culvert Renewal
Up to 1050mm diameter: Expanda Pipe
900mm to 1,800mm: Rotaloc
Over 1,200mm diameter: Ribline

## Slide 9: Lining: Expanda Pipe
Conduits
150mm to 1,200mm

## Slide 10: Expanda Pipe Installation

## Slide 11: Installing in Culverts

## Slide 12: Expanda Pipe lining culverts

## Slide 13: Expanda Pipe lining culverts

## Slide 14: Rail Culverts

## Slide 15: Example …
Stevenage Lines
Hamilton City
Notes: Stevenage lines for Hamilton City. 560 high x 640 wide.
Structural liner. While it reduced the flow area, the circular invert meant faster flow so less silting – maybe better long term performance.
Unlike the Stevanage lines, we don’t always have to grout. So when do we?

## Slide 16: Structural Design
Assume Pipe is “Fully Deteriorated”
AS/NZS 2566.1

## Slide 17: Structural Design
E’ = 2 MPa (Ungrouted)
E’ = 4, 5, 7 MPa (Grouted)

## Slide 19: Rotaloc
Wound-in-Place
Full Bore
Structural Liner
DN900 – DN1800

## Slide 20: Rotaloc

## Slide 21
Rotaloc
Notes: Insert Rotaloc Expanding movie

## Slide 22: PVC Profiles

## Slide 23: Steel Reinforced Profile

## Slide 24
Installation
Rotaloc

## Slide 25: Ribline
Steel reinforced polyethylene
1200mm to >2500mm diameters

## Slide 26: Example: Lining of 1800mm CSP culverts
Example …

## Slide 27
Delivering 30m of 1800Ø Pipe

## Slide 28
Small site footprint

## Slide 30
Grouting

## Slide 31
Stages of Culvert Lining
Stages of Culvert Lining

## Slide 32: Protecting Culvert Ends

## Slide 33: Summary
Liners for culverts from 150mm to >2,500mm diameters
Smooth, structural liners
Corrosion, abrasion resistant
Install without disruption
Economical in remote regions
Fast, safe installation