## Slide 1
PLANNING FOR SUSTAINABILITY, QLDC’S WASTEWATER STORY
Reuben Bouman

## Slide 2
Population Growth

## Slide 3
Upgrades to QLDC WWTPs
WWTP | Upgrade | 
Shotover (Queenstown, inc. Arrowtown) | New Activated Sludge Reactor –Clarifier plant was built in 2013 Second Reactor clarifier is to be built soon | 
Pure (Wānaka, Albert Town and Luggate) | New WWTP (2 x SBRs) was built in 2008 Third SBR is being built currently | 
Hāwea | Temporary MBBR upgrade to existing pond based WWTP Then the WWTP is to be decommissioned and wastewater pumped to Pure | 
Cardrona | New WWTP (2 x SBRs) built in 2021 | 
Kingston | New WWTP (3 x SBRs) to be built in stages | 
Glenorchy | No upgrade | 

## Slide 4
Sustainable outcomes in project lifecycle
Chart: Carbon Reduction Curve
| Planning | Design | Construction | Commissioning | Operation and maintenance
 | 1 | 0.66667 | 0.5 | 0.4 | 0.33333 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.095238 | 0.090909 | 0.086957 | 0.083333 | 0.08
 | 1 | 0.66667 | 0.5 | 0.4 | 0.33333 | 0.28571 | 0.25 | 0.22222 | 0.2 | 0.18182 | 0.16667 | 0.15385 | 0.14286 | 0.13333 | 0.125 | 0.11765 | 0.11111 | 0.10526 | 0.1 | 0.095238 | 0.090909 | 0.086957 | 0.083333 | 0.08
Build nothing- Challenge the root cause of the problem; explore alternative approaches to achieve the desired outcome
Build less- maximise the use of existing assets; optimise asset operation and management to reduce the extent of new construction required
Build clever- Design in the use of low-carbon materials; streamline delivery processes; minimise resource consumption
Build efficiently- Embrace new construction technologies; eliminate waste
100%
80%
50%
20%

## Slide 5
Hāwea Wastewater Business Case
Option 1: New WWTP with irrigation
Option 2: Upgraded WWTP with Rapid Infiltration Basins
Option 3: Pump to Pure WWTP (two different routes)
Option 4: Status Quo

## Slide 6
Sustainability in Design Workshops

## Slide 7
The Sustainability in Design Matrix

## Slide 8
SustID Matrix for Pure WWTP
Easy to Implement
High Impact

## Slide 9
SustID Initiative – Embodied Carbon Tracking
Embodied carbon assessments example for Shotover WWTP upgrade

## Slide 10
SustID Initiative – Efficient Blower & Diffusers
Assessment | Net Present Value Difference | Whole of Life Carbon Difference | Approx. Payback
More efficient blowers | $0.7M Turbo blowers have a high capital cost but offer a 30% yearly power saving | 1,200 tCO2-e Turbo blowers have lower operational and whole of life carbon | 3 years
More efficient diffusers | $0.4M Panel diffusers have a 50% higher capital cost but offer a 21% yearly power saving | 650 tCO2-e Panel diffusers have a lower capital and operational carbon | 7 years
Blowers and diffusers combined | $1.0M | 1,800 tCO2-e | 5 years

## Slide 11
SustID Initiative – N2O Emissions Factor Review
At start of anoxic phase
At start of aerobic phase

## Slide 12
Sustainability in Contracts
Construction Specifications
  Waste Management
  Tender Driven Sustainability
Panel Contract Key Performance Indicators
  Professional Services
  Physical Works
Notes: Professional Services:
Demonstrate that the design considers climate hazards and vulnerabilities throughout the project lifecycle (design, build, operate, decommission).
Demonstrate the design protects and enhances biodiversity and ecology.
Demonstrate the design reduces Scope 1, 2 and/or 3 carbon.
Physical Works:
Number of Environmental Product Declaration products (EPDs) used in construction.
Number of construction waste generating streams reported on and effective initiatives to reduce these demonstrated per bundle.
Number of fossil fuel reliant construction activities which are either eliminated or reduced through the constructor’s methodology.

## Slide 13
Sustainability in Construction
Initial Sustainability in Construction Workshop
Waste minimisation
  Heavily modified REBRI (Resource Efficiency in the Building and Related Industry ) Methodology
  Some small examples: office furniture, backfill material
As-Built Carbon Reporting
  Collaborative development of methodology

## Slide 14
Planning for a Sustainability Future
Future (long-term) expansion of the wastewater plant
Opportunity for future solids proceeding
Municipal Recycling Facility (MRF)
Future potential water reuse facilities
Notes: Future (long-term) expansion of the wastewater plant
Opportunity for future solids proceeding. For Shotover, this included a centralised energy centre processing sludge from Shotover and other WWTPs in the region and other organic waste such as garden and/or kitchen (green) waste. Also producing a re-useable biosolids. For Pure, is allowed space for solar drying
A Municipal Recycling Facility (MRF) for Shotover
Future potential reuse facilities. For Shotover, this was to allow for tertiary filtration and a reservoir to enable irrigation of a nearby golf course For Pure, this was to allow for a pump station to pump the treated wastewater to nearby farmland.

## Slide 15: Acknowledgments
Trent Beckman-Cross
Calum Pringle
Alex Hooren
Sarah Brawley
Evie Wallace
Rae Stewart
John Crawford
Matt Sullivan

## Slide 16: Questions / Pātai
Reuben.Bouman@beca.com